**Silent Gliss 6103 Cubicle/Room Divider/Shower Track System**

**Manufacturer** Silent Gliss – www.silentgliss.co.uk

**Approved Installer** Waverley Contract & Supply Ltd

Rowan House, Guildford Road Trading Estate,

Farnham, GU9 9PZ Tel. 01252 737973

www.waverley.co.uk Email. sales@waverley.co.uk

**Reference** Silent Gliss 6103 Cubicle Track System, complete with 6110 Dust cover, nylon glider@ hook 6147 at 10/metre. Complete with components necessary to form layout as shown on Drawing…..

**Finish** White (RAL 9016 gloss) powdercoat or Satin silver anodised finish as standard

**Operation** Manual Hand Drawn Operation

**Accessories** a) 6620 Nylon wall support

b) 6503 Wall bracket

c) 6630 Nylon end cover

d) 6007 End Stop

e) 6512 Connecting bridge

f) 6514M T-junction

g) 6190 Hanger assembly

h) 6501 V-hanger assembly

i) factory formed bends

Please contact [technical@waverley.co.uk](mailto:technical@waverley.co.uk) or 01252 737973 for advice