**Silent Gliss 6650 Safety Cubicle/Room Divider/Shower Track System**

**Manufacturer** Silent Gliss – www.silentgliss.co.uk

**Approved Installer** Waverley Contract & Supply Ltd

 Rowan House, Guildford Road Trading Estate,

Farnham, GU9 9PZ Tel. 01252 737973

www.waverley.co.uk Email. sales@waverley.co.uk

**Reference** Silent Gliss 6100 Cubicle Track System, complete with 6650 Safety Device system, nylon glider & hook 6147 at 10/metre. Complete with components necessary to form layout as shown on Drawing…..

**Finish** White (RAL 9016 gloss) powdercoat or Satin silver anodised finish as standard

**Operation** Manual Hand Drawn Operation

**Accessories** a) 6655 Safety wall support (for fixing track at right angles to wall)

b) 6668 Safety wall support( for fixing track parallel to wall)

c) 6611 Delrin end cover

d) 6007 End Stop

e) 6666 Connecting bridge

f) 6675 safety device for Hanger assembly

g) 6677 safety device for V-hanger assembly

h) factory formed bends

i) Installation to be carried out by certified installers

Please contact technical@waverley.co.uk or 01252 737973 for advice